This article has been designed as a template.  Please make sure to update or change the highlighted text in the article with information pertinent to your company.

High Efficiency Residential Gas Furnaces

Furnaces are the most popular way to heat homes in the United States.  One in four furnaces is over 20 years old.  If the furnace in your home is over 15 years old, you are likely wasting energy and money through inefficient equipment.  That’s not good for your pocketbook or the planet.

When upgrading to an energy efficient natural gas furnace or installing one in a new home, make sure to pay attention to the Annual Fuel Utilization Efficiency (AFUE).  This is the amount of fuel the equipment is converting into useable heat.  Remember: the higher the AFUE rating the better.  New, high efficiency natural gas furnaces on the market today can have an AFUE rating of 90 percent or higher, with some models reaching an AFUE of 97 percent.  A standard efficiency gas furnace can waste 30 cents on every energy dollar, and older units waste even more.

Labels to Look For: Understanding EnergyGuide and ENERGY STAR®

The best way to gauge a unit’s efficiency is by looking at the yellow EnergyGuide label on the furnace.  The Federal Trade Commission requires that furnaces carry this label, and the rating a unit receives is determined by the Gas Appliance Manufacturers Association efficiency certification.  This shows how much energy per year a unit will use and how efficient it is compared to other models.  A dollar amount at the bottom of the label estimates approximately how much the unit will cost to operate annually.

All units have an EnergyGuide label, but only the most efficient ones on the market carry the blue ENERGY STAR® label.  These products have met strict guidelines set by the Environmental Protection Agency and the U.S. Department of Energy and have AFUE ratings that are about 15 percent higher than standard models.  A list of ENERGY STAR® qualified natural gas furnaces can be found at: http://energystar.gov.

The Importance of Sizing and Proper Installation

You can also increase your energy efficiency and save money by purchasing the right size natural gas furnace for your home.  The size of a furnace refers to its heating capacity—not how large the unit physically is.  Bigger heating equipment is not always better.  Oversized equipment can actually result in shorter run cycles—reducing your overall energy efficiency and comfort.  A furnace is the least efficient at the beginning of its cycle when it is switched on.  It continues to gain in efficiency until it reaches its steady state.  Equipment that is too large for the space will switch on and off more frequently.  Make sure your contractor determines the proper furnace size for your home by using industry standard guidelines.

In addition to accurate sizing, a qualified contractor will ensure your natural gas furnace is properly installed for maximum efficiency by checking the following:

- Making sure there is adequate room around the unit for service and maintenance.

- Testing for proper air flow.

- Verifying that your furnace has been tested for proper burner operation and gas ventilation.

More Energy Saving Tips

- Make sure your ducts are properly sealed.  Leaky ducts can reduce your system’s efficiency by as much as 20 percent, resulting in wasted energy and a less comfortable home.  Having your ducts checked by a professional contractor can be one of the most cost-effective energy saving decisions you make.

- Get an annual tune-up.  Having your system checked by a professional contractor will ensure it continues to perform at maximum efficiency.

- Install a programmable thermostat.  This allows you to vary your home’s temperature and avoid keeping it too warm when no one is there.  A properly used programmable thermostat can save you up to $150 a year.

Residential Natural Gas Furnace Manufacturers

- Amana www.amana-hac.com

- American Standard www.americanstandard-air.com

- Bryant www.bryant.com

- Carrier www.residential.carrier.com

- Coleman www.colemanac.com

- Heil www.heil-hvac.com

- Lennox www.davelennox.com

- Rheem www.rheemac.com

- Ruud www.ruudac.com

- Trane www.trane.com

Additional Residential Natural Gas Furnace Resources

- U.S. Department of Energy www.eere.energy.gov

- Energy Solutions Center www.energysolutionscenter.org

- Enercom www.energydepot.com

For information on rebates and tax credits available for gas furnaces, visit our website:

www.energydepot.com/Peoples_Res/library/hieffurn.asp

www.ENERGYSTAR.gov

www.ENERGYSTAR.gov

www.ENERGYSTAR.gov